## Slide 1: International Lift Expo – Korea 2021
Codes , Standards and Safety

## Slide 2: Asia Pacific Countries
Australia
Bangladesh
Brunei
China
Fiji
Guam
Hong Kong
India
Indonesia
Japan
Kampuchea
S. Korea
Laos
Macau
Malaysia
Myanmar
New Zealand
Pakistan
Philippines
Singapore
Sri Lanka
Thailand
Taiwan, ROC
Vietnam
24 Regional Countries under the PALEA Umbrella
Standards Body or Code Committee
Some initial activity
No activity at present time
1

## Slide 3: Code Committees and Standards Body
Asia Pacific Code Committee and Standards Body |  | 
Country/Region | Standards Body/Code Committee | Acronym
Asia Pacific | Pacific Asia Lift and Escalator Association | PALEA
Australia | Standards Australia/ME4 | SA
China | Standardization Administration of China /TC196 | SAC/TC196
Hong Kong | Electrical and Mechanical Services Department | EMSD
India | Bureau of Indian Standards/ET25/P4 | BIS
Indonesia | Indonesian National Standards | SNI
Japan | Japan Elevator Assoc. / Japanese Industrial Standards Committee | JEA/JISC
Korea | Korean Agency for Technology and Standards | KATS
Malaysia | Dept Malaysia Standards / Dept. Of Safety and Health | DSM / DOSH
Macau | Land, Public Works and Transport Bureau of the Macao SAR | DSSOPT
New Zealand | New Zealand Standards | NZS
Philippines | Philippine Society of Mechanical Engineers | PSME
Singapore | International Enterprise Singapore | IE Singapore
Taiwan, ROC | Bureau of Standards, Meteorology and Inspection | BSMI
Thailand | Thai Industrial Standards Institute | TISI
Vietnam | Tieu Chuan VietNam | TCVN

## Slide 4: Codes and Standards
Codes and Standards are fundamental to the safety and quality of the Elevator and Escalator Systems in general
“State of the Art” Codes and Standards helps establish the base for high quality, safe operational products
Safe, high quality of design, manufacture, installation and servicing processes also stem from controlled Regulations and Administration of the same.
  Uniform Worldwide Standards ensure that the broad spectrum of expertise contribute to the quality of the standard and hence ensure the best outcome
15-09-2019 Graham Worthington 3

## Slide 5: Codes , Standards and Regulations
Standards
A set of technical definitions and guidelines that function as instructions
for designers, manufacturers, operators, or users of equipment
Codes
A standard becomes a code, when it has been adopted by one or more governmental bodies and is enforceable by law or when it has been incorporated into a business contract.
Regulations
Are rules made by a government (also local) in order to control the way something is done or the way people behave. E.g. 3rd party inspections .
15-09-2019 Graham Worthington 4

## Slide 6: Codes , Standards and Safety Asia Pacific
Australia
Regulatory Body : National Body SafeWork Aust.+ 7 State Bodies either SafeWork or WorkSafe
New AS1735 part 1 published in 2020 which includes ISO8100-1,2 & TS3 covers design standards
New AS1735 part 5 series published 2020 which includes EN115 parts 1 – 4 : 2017
New AS1735 part 12 ( accessibility ) published as an adoption of EN81-70 2018 with an appendix for Australia.
Adoption of ISO 25745 Parts 1 to 3 energy standards
Adoption of EN81-28 Communication standard , published in 2020
Adoption of AS1735 part 15 (EN 81-41) Vertical lifting platforms for impaired mobility
Progress on EN81-72 and En81 -77 fire and seismic codes , and adoption proposal to for IS8100-32 planning standard
Progress on adoption of EN81-21 New lifts in existing buildings Manage the Refuge space issues
Progress on adoption of EN81-22 Inclined Lifts
Working the Building Code Authority and Fire Authorities on ISO 3008 -2 (EN81-58)
Adopted ISO 22559 parts 1 - 4
15-09-2021 Graham Worthington 5

## Slide 7: Codes , Standards and Safety Asia Pacific
China
Regulatory Body : State Administration for Market Regulation (SAMR)
The SAMR was founded on 17th March 2018 by the National People’s Congress and details of its operation were finalised by the 9th August.
Multiple bureaucracies were streamlined to eliminate duplication of work, streamlining of regulations and improved coordination between ministries.
As a result, SAIC, AQSIQ and CFDA we abolished, with SAIC, NDRC, MOFCOM, CNCA, SIPO and SAC being merged into SAMR.
GB/T 7588.1 / 2 (ISO 8100 -1/2) were published 4th Dec 2020, effective 1st July 2022
TSSG 7007-2016 Amendment 2 , with enhancement of type test requirements for safety and major components, lift machine brake, lifts with alternative suspension means closed for comments 7th August
Development of a draft standard (XXXX/T XXXX-202X) for Risk Assessment of Existing Lifts is in process with comments closed on August 17th .
Work has commenced on adoption of ISO 8100-32:2020 , planning and selection of passenger lifts, into a GB/T (China National Standard).
15-09-2021 Graham Worthington 6

## Slide 8: Codes , Standards and Safety Asia Pacific
New Zealand
Regulatory Body : Department of Building and Housing (Building Codes Act)
Adopted EN81-20 & 50 (ISO 8100 – 1&2) January 1st 2017, all lifts sold after August 2017 should comply to EN 81 – 20 & 50. Accepts EN81-58 (ISO 3008-2)
Also follows Australia with direct adoption of ISO codes
Discussions underway on the adoption of EN 81-77 (Seismic)
Hong Kong
Regulatory Body : Electrical & Mechanical Services Department (EMSD)
The new Design Code of Practice which is based on EN81-20/50 inclusive of some local HK requirements as an appendix was Gazetted on 30th August 2019. Enforced from June 1st 2020
Finalizing the convergence of EN115-2017 and the escalator section of Hong Kong Design Code of Practice 3rd Qtr 2021.
Preliminary discussions with EMSD and LECA on the introduction of Regulating the Mandatory Modernization of older lifts ( EN 81 – 80)
15-09-2021 Graham Worthington 7

## Slide 9: Codes , Standards and Safety Asia Pacific
India
Regulatory Body : National Building Code Authority
10 of 29 States have strict Lift Regulations, others look to comply to Building Code Regulations
IS 17106 (part 1) :2019 / ISO 22201 – 1 : 2017 (PESSRAL)
IS 17386 : 2020 based on EN81-21
IS 17941 : 2020 based on EN 81-80
IS 15330 : 2020 based on EN81-70
IS 4591 Part 1 / Sec 1 – 3 based on EN115:1995+A1:1998 + A2 :2004
IS 17517 : 2020 adoption of ISO 3008 – 2 : 2017
IS 17515 (part 1 -3 ) : 2021 / ISO 25745 – 1 : 2012
ISO 8100 – 1 / 2 : 2019 modified adoption under draft and public comment , new IS number to be issued
Measurement of ride quality part 1 & 2 under development
Guide for maintenance on lifts, escalators and moving walks under development
15-09-2021 Graham Worthington 8

## Slide 10: Codes , Standards and Safety Asia Pacific
Indonesia
Regulatory Body : Ministry of Manpower (MENAKER) or (MoM)
Ministry of Manpower issued a Permanaker No. 06 in 2017 which is a revision of a 1995 regulation. It is minimum rules for the planning , manufacture, installation, use and maintenance of elevators that are used to transport of persons and goods or special items and is accepted as the National Code.
Contractors will also accept most International Codes and Standards
Badan Standaerdisasi Nasional (BSN), APPLE and Regulators are somewhat supportive of the introduction of ISO 8100-1 & 2 .
Japan
Regulatory Body : Ministry of Land, Infrastructure, Transport and Tourism (MLIT)
JISA 4307- 1 & 2 was published on the 25th February 2019, 3 weeks prior to the publishing of ISO 8100.
JISA 4307- 1 & 2 is based on ISO 8100 – 1 & 2 and is a Japanese Industrial Standard created by modifying the technical content in order to harmonize to the Building Standard Law of Japan.“
15-09-2021 Graham Worthington 9

## Slide 11: Codes , Standards and Safety Asia Pacific
S.Korea
Regulatory Body : Ministry of the Interior and Safety (MOIS)
Ministry of the Interior and Safety was launched the amendment of the elevator facilities safety management program effected from Mar.27th, 2019
Korea Elevator Safety Agency (KoELSA) is affiliated with MOIS and specializes in Elevator and Escalator Safety Management and responsible for approvals and certifications.
The new Design Code of Practice which is based on EN81-20 & 50 inclusive of some local Korean requirements was launched from Mar.28th, 2019
Standards for PESSRAL(ISO 22201-1),PESSRAE(ISO 22201-2) under study with KoELSA
Korea Standards and Lift Industry are also working on drafts of IoT Technical Standards
Safety Norms for Existing Lifts
Lifts >= 15 years old are subject to special safety inspections every 3 years.
- Inspect according to installation inspection standard.
- Using precision inspection equipment for controller deterioration, traction ability,
machine insulation, brake force and deceleration, safety gear and door kinetic energy.
Lifts >= 21 years old must comply to the new design code for prescribed safety items.
- Automatic rescue operation, Double brake, UCMP, ACO, safety door holder,
finger jam protection for landing and car doors, door emergency guide
15-09-2021 Graham Worthington 10

## Slide 12: Codes , Standards and Safety Asia Pacific
S.Korea continued…
KOREA LIFT ASSOCIATION (KoLA)
Registration of a corporation date is 2020, Nov. 23 (406 Member Companies (21/07)
Purpose of Establishment of KoALA
  Development of the Lift and Escalator Industry
  Cooperation Win-Win between Lift and Escalator business operators
  Promotion of safety awareness to the public
Elevator Safety Management Act , Wholly Amended by Act 15526, March 27th 2018.
  Article 68 (Establishment of an Association) Elevator business operators may establish an association of elevator business operators (herein referred to as an “association”) for the sound development of the elevator safety industry and the common interest of elevator business operators
Major Activities
  Safety Campaigns for the public
  Policy and Legal improvement
  Training and Education
  Supporting Lift Expo’s and events in Korea
  Industrial and Technical exchanges
  Online sales of Lift and Escalator parts for member companies
15-09-2021 Graham Worthington 11

## Slide 13: Codes , Standards and Safety Asia Pacific
Macau
Regulatory Body : Land, Public Works and Transport Bureau (DSSOPT)
Institute for Development and Quality (IDQ) has commenced work on the development of a National Code. Progress to date is quite slow due to lack of resource and direction. PALEA is looking to support the IDQ with adoption of ISO 8100, no defined plan at this stage
Currently most International codes are accepted, with ANSI historically the most popular mainly due to U.S Consultant influence and US funded Casino’s.
Malaysia
Regulatory Body : Department of Safety and Health (DOSH)
EN81-20 & EN81-50 ( MS EN81-20 & 50) has been approved by the Ministry and both Standards are available from DSM.
Full implementation not expected for 2 years as Inspection bodies and industry members prepare all the required changes which also affect Building and Fire codes
Fire regulations are Law in Malaysia therefore difficult short term to take up EN81-58
15-09-2021 Graham Worthington 12

## Slide 14: Codes , Standards and Safety Asia Pacific
Philippines
Regulatory Body : Philippines Department of Public Works and Highways (DPWH)
National Building Code of the Philippines (NBC)
Published under the NBC, PSME and ASME are suggested as National Standards though in reality most International codes and standards are accepted in the Philippines
Some interest amongst the Stakeholders for the introduction of EN 81 -20 & 50 and the EN code suites. There has also been some informal discussions on the benefits of forming an Elevator Association to help support the lift industry.
Thailand
Regulatory Body : Department of Public Works and Town & Country Planning (DPT)
Thailand does not have its own National lift and escalator codes, uses most International Codes including EN81-20 / 50.
The Engineering Institute Association of Thailand (EIAT) is currently working on the development of National codes.
Former PALEA meetings in Bangkok with Regulators and Industry members did show a lot of interest in EN81-20 / 50 (ISO 8100), which PALEA will support
15-09-2021 Graham Worthington 13

## Slide 15: Codes , Standards and Safety Asia Pacific
Singapore
Regulatory Body : International Enterprise Singapore (IE Singapore)
SS550:2020 has bee published and released with an effective date of July 1st 2021. This revision further harmonises with EN81-20 / 50 (ISO 8100 – 1&2).
Escalator Code SS 626 : 2017 is a translation of EN 115-1:2008 + A1:2010 , inclusive of some local requirements.
Work Safety and Health Council have issued “Working Safely
During Maintenance of Electric Passenger and Goods Lifts”
This was in collaboration with the Ministry of Manpower
The BCA issued “CODE ON ACCESIBILITY” in the Built Environment
a 263 page document which covers every imaginable condition in the
Built Environment, and also has a section specifically for Lifts
The BCA have drafted a Code of practice for the installation of Remote Monitoring Systems for Lifts and Escalators
The BCA are working with Industry members and 3rd parties in how to efficiently, safely and effectively conduct remote maintenance.
15-09-2021 Graham Worthington 14

## Slide 16: Codes , Standards and Safety Asia Pacific
Taiwan, China
Regulatory Body : The Bureau of Standards, Metrology and Inspection (BSMI)
EN 81-20 & 50 (CNS 15827-20/50) have been published, and released, but not mandatory .
Full implementation most likely in 2022 due to upgrading of test facilities, drafting and publication of test and qualification documentation to support the new codes.
Vietnam
Regulatory Body : The Ministry of Labour, Invalids and Social Affairs (MOLISA)
TCVN 6395 -20 & 50 (EN81-20 & 50) replaced TCVN 6395 – 1 & 2. TCVN MRL and MMR regulations have been merged into the code.
Five codes were published in November 2020
TCVN 6397- 1:2020 ( EN115-1:2017) , TCVN 6396 - 21:2020 ( EN81-21:2014)
TCVN 6396 - 22:2020 ( EN81-22:2014), TCVN 6396 - 31:2020 ( EN81-31:2010)
TCVN 6396 - 43:2020 ( EN81-43:2009)
TCVN has adopted > 26 EN and ISO codes for elevators and escalators
15-09-2021 Graham Worthington 15

## Slide 17: Harmonisation of EN 81 and ISO 8100 Codes
17
International Cooperation Group Members
ISO experts from
    China
    Korea
    Japan
    United States
PALEA (in cooperation with CEN/TC & ISO)
CEN/TC 10
    Chairman and Secretary
    Convenors of CEN/TC WGs
    Convenors of other Ad Hoc Groups
    Invited experts
Resolutions
Resolutions
Formed based on mutual resolutions by ISO/TC 178 and CEN/TC 10
Task Force on Convergence Established in 2008
Participated in preparation and development of EN 81-20/-50
Roadmaps set out for Harmonization of International Codes
Pursue Global Technical Barrier Free Trade ( Equivalent Safety, Quality and Standards
15-09-2021 Graham Worthington 16

## Slide 18: EN 81 / ISO 8100 Harmonisation Progress
15-09-2021 Graham Worthington 17

## Slide 19: ISO Performance Based Codes
  15-09-2021 Graham Worthington 18

## Slide 20: Global Conformity Assessment Process GCAP’s
Notified Bodies (NB) Example : TUV SUD Korea
A conformity assessment body officially designated by the National authority to carry out the procedures for conformity assessment within the meaning of the applicable union harmonisation legislation , in our case this is the Lift Directive.
Conformity Assessment Bodies CAB) Example : KOLAS and KAS
A body that performs one or several elements of conformity assessment , including one or several of the following activities: calibration , testing , certification and inspection.
Benefits
Promotes new innovation and new technology not mentioned in prescriptive codes
Ensures that lifts are strictly designed , installed and maintained to codes
Helps regulators ensure the safety, quality and environmental parameters are met
Provides customers and stakeholders with added confidence
Can provide companies with a competitive edge
15-09-2021 Graham Worthington 19
  15-09-2021 Graham Worthington 13

## Slide 21: Conformity Assessment Processes
Global Essential Safety Requirements
Global Safety Parameters
GCAP for Accreditation for Lifts
Global Conformity Assessment Process for Certification
22559-1 (8100-20)
Global Essential Safety Requirements (GESR) for Lifts
TS 22559-2 (TS 8100-21)
Global Safety Parameters
(GSP) for Lifts
TS 22559-3 (8100-22)
GCAP for Certification for Lifts
TS 22559-4 (8100-23)
GCAP for Accreditation for Lifts
Has established GESR’s for lifts by addressing hazards and safety risks that
may be encountered on a lift. The GESR’s state safety objectives that a lift
should achieve
Sets criteria for achieving conformity with safety requirements of GESR’s by specifying global safety parameters that should be used and implemented where applicable on a lift to eliminate safety hazards or mitigate safety risks
Sets pre-requisite requirements that must be fulfilled before applying for a
Global conformity assessment procedure (GCAP) certificate of conformity
In accordance with ISO/TS 22559-4
Sets procedures for certification of conformity of lift systems, lift components and lift functions , and for accreditation of conformity assessment bodies (GCAB’s)
  15-09-2021 Graham Worthington 20

## Slide 22: Global Conformity Assessment Process
Under EN and ISO, Conformity Assessment Certification is by Notified Bodies
Perform in service certification
Commissioning verification
System verification
Type testing
Design verification
Evaluation of OEM quality and manufacturing system/facility
Approval in terms of Lift Directive (GESR’s)
Combination of the above
15-09-2021 Graham Worthington 21

## Slide 23: Technical Documents for GCAP’s
Technical documents required by N.B include but not limited to
Risk Assessments
GESR’s that are applicable
Design and test data
Code conformance document (CCD) if not a performance code
Can include evaluation of OEM quality and manufacturing system/facility
Reports and evaluation from customers
Approval in terms of Lift Directive (GESR’s)
Combination of the above
15 -09-2021 Graham Worthington 22

## Slide 24: Examples of applying GCAP’s & GESR’s
Alternative suspension means
Modernisation of existing lifts not complying to current codes
  Headroom clearances
  Pit Depth and access
  Refuge spaces on car roof and pit
  Clearance with TOC balustrade
Electro – mechanical brake systems , PESSRAL
Conductors and cables
Buffers
Landing and car door bypass devices
15-09-2021 Graham Worthington 23

## Slide 25
Thank you for your attention